SOLAR ENERGY POTENTIAL IN SOKOTO

BY

ABUBAKAR MUHAMMAD FODIYO

1910305013

A

PROJECT

SUBMITTED TO

THE DEPARTMENT OF PHYSICS,

FACULTY OF PHYSICAL AND COMPUTING SCIENCES,

USMANU DANFODIYO UNVERSITY SOKOTO

IN PARTIAL FULFILMENT OF THE REQUIREMENTS

FOR THE AWARD OF

BACHELOR OF SCIENCE (B.Sc. Hons)

DEGREE IN PHYSICS.

NOVEMBER, 2024

CERTIFICATION

This is to certify that, this research work carried out by Abubakar Muhammad Fodiyo, admission number 1910305013, of Physics Department, Usmanu Danfodiyo University Sokoto has been approved as meeting the requirement of the department, for the award of B. Sc. Honors Degree in Physics.

…………………………..                                                             ………………

Dr. S. BUDA                                                                                    DATE

(PROJECT SUPERVISOR)

……………………………                                                           ……………….

PROF. B. S. HAMZA                                                                        DATE

(H.O.D)

……………………………                                                           ……………….

EXTERNAL EXAMINER                                                                DATE

DEDICATION

This research work is dedicated to Almighty Allah (S.W.T), my father mal. Yakubu Yusuf, my beloved mother malama Amina Yusuf and my beloved siblings for their unending love care and support.

ACKNOWLEDGEMENT

All Praises and thanking be to Allah, and prayers and peace be upon the Messenger of Allah Muhammad Messenger of God, may God Peace and blessings be upon Him.

My sincere gratitude and appreciation to my mommy and daddy and sister safeena  thank you you really helps me in both financial support and spiritual guidance and motivations. I promise I'll keep making you proud.

My sincere gratitude to my H.O.D Prof. B. S. Hamza, supervisor Dr. S. Buda and Engr. Muhammad Mawoli and the entire staff of physics department for their assistance and guidance and support throughout my academic journey, thank you.

I wants to use this opportunity to appreciate wonderful people that contribute and sacrifice so much for me in my life and studies 'thank you' friends and family such as Safeena, nana, Muhammad, Abdulsalam, Mubarak and friends like Saifullahi, namakka, babawo, sadeeq arg and co. especially Rafatu Yusuf thank you will never be enough to appreciate what you've done for me.

May Allah help guide, protect and bless you and me.

Thank you.

TABLE OF CONTENT

TITLE PAGE……………………………………………………………………i

CERTIFICATION	ii

DEDICATION	iii

ACKNOWLEDGEMENT	iv

CHAPTER ONE	1

INTRODUCTION	1

1.1 BACKGROUND TO THE STUDY	1

1.2 STATEMENT OF THE PROBLEM	3

1.3 AIMS AND OBJECTIVE	3

1.4 SIGNIFICANCE OF STUDY	4

1.5 SCOPE AND LIMITATION	4

CHAPTER TWO	5

LITERATURE REVIEW	5

2.0 INTRODUCTION	5

2.1. RELATED STUDIES	7

2.2 SOLAR ENERGY	9

2.3 IMPORTANCE OF SOLAR ENERGY AS A RENEWABLE ENERGY SOURCE	10

2.4 TYPES OF SOLAR POWER	12

2.4.1 SOLAR THERMAL	12

2.4.1.1 LINEAR CONCENTRATING SYSTEMS	13

2.4.1.2 SOLAR POWER TOWERS	13

2.4.1.3 SOLAR DISH/ENGINES	14

2.4.2 SOLAR PHOTOVOLTAIC	14

2.4.2.1 ELECTRICITY FLOW IN A SOLAR CELL	15

2.4.2.2 PV CELLS, PANELS, AND ARRAYS	16

2.4.2.3 PV SYSTEM EFFICIENCY	17

2.4.2.4 PV SYSTEM APPLICATIONS	18

2.4.2.5 HISTORY OF PV SYSTEMS	18

2.5 BASIC CONCEPT	19

2.5.1 THE SUN	19

2.5.2 SOLAR RADIATION	19

2.5.3 THE SOLAR SPECTRUM	20

2.5.4 AIR MASS	21

2.5.5 SOLAR CONSTANT	21

2.5.6 Extraterrestrial Radiation	22

2.5.7 Solar Angles	22

2.5.8 Solar Time	23

CHAPTER THREE	25

MATERIALS AND METHODOLOGY	25

3.0 INTRODUCTION	25

3.1 STUDY AREA	25

3.2 DATA	25

3.3 METHOD	26

CHAPTER FOUR	27

RESULTS AND DISCUSSIONS	27

4.1 Results	27

4.2 Discussions	35

CHAPTER FIVE	37

CONCLUSION AND RECOMMENDATION	37

5.1 CONCLUSION	37

5.2 RECOMMENDATIONS	37

REFERENCE	38

LIST OF TABLE

Table 4.1: Monthly average solar radiation for the year 2019.                35

Table 4.2: Monthly average solar radiation for the year 2020                37

Table 4.3: Monthly average solar radiation for the year 2021                38

Table 4.4: Monthly average solar radiation for the year 2022                39

Table 4.5: Monthly average solar radiation for the year 2023                40

Table 4.6: Average monthly solar radiation for the years 2019-2023     41

Table 4.7: Calculations of average PV output                                       43

Table 4.8: Daily, Monthly and Yearly energy output.                               44

LIST OF FIGURES

Figure 2.1: A diagram of working principle of a photovoltaic cell             23

Figure 2.2: Solar radiation Spectrums                                                 28

Figure 2.3: Air mass.                                                                        29

Figure 4.1: Graph of annual monthly variation for the year 2019.           36

Figure 4.2: Graph of annual monthly variation for the year 2020            37

Figure 4.3: Graph of annual monthly variation for the year 2021            38

Figure 4.4: Graph of annual monthly variation for the year 2022            39

Figure 4.5: Graph of annual monthly variation for the year 2023            40

Figure 4.6: Bar chart of monthly variations 2029-2023                       42

Figure 4.7: Graph of monthly energy output                                         45

ABSTRACT

This research examines the potential of solar energy in Sokoto, a region of the highest solar irradiance levels in Nigeria. With increasing energy demands and a push for sustainable solutions, Sokoto’s abundant sunlight position it as a prime location for solar energy development. This study reviews the region’s solar irradiance data, current energy infrastructure and the socio-economic and environmental benefits of adopting solar power. Findings suggest that solar energy could meet a significant portion of Sokoto electricity needs, reduce reliance on fossil fuels and support local economic growth. The research underscores the importance of investment in solar infrastructure to capitalize on Sokoto’s solar potential.

CHAPTER ONE

INTRODUCTION

1.1 BACKGROUND TO THE STUDY

The term “Renewable energy” covers all forms of energy generated from natural resources such as sunlight, wind, water (or hydro power), tide, geothermal heat, biomass and biofuels. They are derived from natural processes that are constantly replenished and each of them has characteristics that determine where and how they are used. Several renewable energy projects in many countries have shown clearly that renewable energy can directly contribute to poverty alleviation by providing a substantial amount of energy needed for creating businesses and employment especially in rural communities that have not yet been connected to the National grid (Federal Ministry of Environment, 2013). Several renewable energy technologies are presently being used to supply energy for cooking, space heating, lighting, automobiles, etc. The combination of energy efficiency, conservation, and renewable energy resources, should allow Nigeria to meet any future increase in demand without increasing its reliance on non-renewable resources (Federal Ministry of Environment, 2013).

Solar energy can be seen as the anchor behind various forms of renewable energy. It anchors hydro power where the hydrological cycle is being controlled by the sun as well as Wind Power where the movement of air is due to the heating effect of the sun on the atmosphere. In general, heat, kinetic energy, electrical energy and chemical energy can be provided via solar energy conversion (Tyagi et al., 2013). In theory, solar energy can be perceived as an ideal energy source, because it is free and virtually limitless. However the technological barriers with regards to its collection, distribution and storage are great. Solar energy forms the basis or acts as the source of all other forms of energy on earth. Hence with the increase in intensity of solar radiation reaching the earth, it is paramount that this invaluable resource be put into adequate and efficient use in various areas of life. Solar energy utilization takes its root in the early ages when solar energy (sun) was used as a clock, as a compass, for preservation of food etc. In this modern age we have simply improved upon the findings of the old to get greater value, efficiency and time saving. To this end solar energy is ever growing and ever expanding in its utilization.

According to recent reports, the current photovoltaic (PV) cells installations are still small and provide only 0.1% of world total electricity generation even though PV cells installations are growing at 40% average annual rate (Tyagi et al., 2013). It has been predicted that PV cells will deliver about 345GW (around 4% of world total energy) by 2020 and 1081GW by the year 2030 (Tyagi et al., 2013). In Germany, PV produced 27.6TWh, while Wind produced 46TWh in 2012 (Bayar, 2013). Renewables in total accounted for 21.9 per cent of Germany’s energy mix in 2012 out of which 4.6 per cent of total electricity production (which is a 47 per cent rise from the previous year) was from PV, 7.3 per cent was from Wind, biomass accounted for 5.8 per cent and hydropower made up 3.3 per cent (Bayar, 2013). Germany presently leads the world in the number of PV installations (Tyagi et al., 2013). This feat has been achieved because they have developed and pursued their renewable energy generation and utilization plan which has helped largely in solving their energy demand issues. Nigeria needs to also look into our renewable energy potentials and begin on a journey to harness them as a supplement to other conventional energy sources.

Solar energy is radiant light and heat from the Sun that is harnessed using a range of technologies such as solar power to generate electricity, solar thermal energy (including solar water heating), and solar architecture. (Mandal, 2018) It is an essential source of renewable energy, and its technologies are broadly characterized as either passive solar or active solar depending on how they capture and distribute solar energy or convert it into solar power. Active solar techniques include the use of photovoltaic systems, concentrated solar power, and solar water heating to harness the energy. Passive solar techniques include orienting a building to the Sun, selecting materials with favorable thermal mass or light-dispersing properties, and designing spaces that naturally circulate air.

In contrast, active solar energy technology refers to the harnessing of solar energy to store it or convert it for other applications.Three examples of active solar energy include photovoltaic solar panels (these generate electricity directly), solar water heaters (these generate hot water for commercial or residential use), and concentrated solar power systems (these include powerplants that concentrate sunlight and use the heat to drive a steam turbine).

1.2 STATEMENT OF THE PROBLEM

Nigeria faces a significant energy crisis which include, limited access to electricity, with only 30% of the population having access to grid electricity, over reliance on fossil fuels, resulting in high energy cost and environmental degradation, Abundant solar energy resources yet underutilized and inadequate framework for promoting solar energy adoption,hindering the transition to a sustainable energy mix.

1.3 AIMS AND OBJECTIVE

To conduct a comprehensive assessment of the solar energy potential in Sokoto State, Nigeria and evaluate it's feasibility as a sustainable energy source.

- To determine the solar radiation intensity in Sokoto State and identify areas with high solar potential

- To contribute to the development of sustainable energy solutions in Sokoto State.

- To collect and analyze solar radiation data in Sokoto State

1.4 SIGNIFICANCE OF STUDY

Contributing to the development of sustainable energy solutions in Sokoto State, aligning with the global agenda for renewable energy transition. To promote the adoption of clean energy, reducing greenhouse gas emissions and environmental degradation associated with fossil fuels. The study's methodology and findings can be replicated in other regions with similar energy challenges, promoting regional sustainable energy development.

1.5 SCOPE AND LIMITATION

The study focuses on assessing the solar energy potential in Nigeria. It covers the collection and analysis of solar radiation data, technical and economic feasibility studies. The study is limited to Sokoto State and may not be representative for other regions in Nigeria or Africa. The accuracy of the solar radiation data and analysis is dependent on the quality of the data sources and methods used. The study does not consider other renewable energy sources or energy storage options. The study relies on existing data and literature, which may have limitations biases.

CHAPTER TWO

LITERATURE REVIEW

2.0 INTRODUCTION

In the present day world, adequate supply of electricity serves as an index for measuring sustainable economic development of any nation and the wellbeing of its citizens. Without access to substantial energy supply, no country can grow to its expected level (Bhattacharya et al., 2016) The perpetual increase in population growth and technological advancement has also contributed to the increase in electricity demand, thereby creating a wide gap between demand and supply (Mandal et al., 2018). About 75% of the world’s total energy is from fossil fuels. The use of fossil fuels results in many problems such as environmental degradation and global warming as a result of CO₂ emission. Additionally, the gradual depletion of these fossil fuels that accounts for about 75% of world’s total energy has given rise to other sources of energy from renewable energy sources (RES) for clean and sustainable energy production to meet the desired load demand (Sarker et al., 2018). RES integration and deployment has increased and has been given a tremendous attention globally (Bukar and Tan, 2019). There are still over half a million people of European residents without access to the national grid and about 45% of people living in sub-Saharan Africa, East, South, and Central Asia, South America and the Middle East living in darkness (Ng and Tao, 2016). Nigeria being an oil-producing state with abundant natural resources such as coal, gas and other renewable energy sources are still unable to supply adequate energy to its citizens especially the rural communities due to lack of political will and corruption. The cost associated with transmitting power to the rural communities, with very low load demand, is another challenge. Transmitting electricity through grid extension is uneconomical and not feasible due to the loss that will be incurred due to low demand. The use of diesel generators in these communities is also uneconomical due to the high cost of diesel caused by the additional cost of transporting it from the urban area to the rural communities. Apart from grid unavailability to supply the rural communities, the energy supply mix is also dominated by fossil fuels. Keeping aside the effect of fossil fuels energy sources on the environment, the diminution in fuel reserve bring about a serious doubt in coping with the increase in population growth and a rise in economic activities in the country. This concern is due to the increase in energy demand of the present and future scenario. This out of many reasons deem it fit to conduct several studies that will incorporate RE technologies such as solar photovoltaic (PV), wind turbines, hydroelectric, etc. as alternative sources of energy to substitute the current fossil fuels for electricity generation.

The availability of abundant RES in Nigeria has showcased a possibility of harnessing these sources as alternatives for power generation in the rural communities. Solar, wind, and other RES remain the only solution to provide electricity to these communities. According to (Adaramola et al; Salisu et al., 2017)

Nigeria has an average sunshine hours of 6.25 with the solar radiation averaged at 5.25 kWh/m2. Solar radiation in Nigeria varies between 3.7 kWh/m2 and 7.0 kWh/m2 from the coastal boundaries to the northern boundaries (Olatomiwa et al., 2015), with the northern boundaries experiencing higher solar radiation. It is also estimated that Nigeria has an average wind speed varying between 2.6 m/s and 15 m/s during the rainy season, with an average wind speed ranging from 2.7 m/s to 5.4 m/s depending on the location (Ohunakin and Akinawona, 2012).  Various studies have suggested the deployment of solar PVs, wind turbines, and other RES for electricity generation in Nigeria (Babatunde et al., 2018). These RESs are pollution free sources with zero environmental effect. They are freely available and free of greenhouse gas emission (Suhane et al., 2016). While many studies employed the use of single RES for electricity generation, others considered the use of hybrid systems by combining two or more RESs and in some cases, diesel generators are used as backup power supply for more efficiency and reliability (mamaghani, 2016). Hybrid systems with backup power supply of diesel generators are mostly applicable to villages that have not access to the grid. The hybrid RES is preferred because total reliance on a single energy source can result in a system oversizing which may eventually increase the capital cost of the system (Giallanza et al., 2018; Hossain et al., 2017).  There is also the effect of weather condition due to fluctuations in wind speed and solar radiation.

Renewable-based energy generation in different parts of the globe have necessitated the development and applications of several optimization models and software for technical, environmental and economic feasibility analysis of numerous hybrid configurations (Islam, 2018; Li and Yu, 2016).  In Nigeria, some of the studies were carried out in various parts of the country on standalone systems by hybrid optimization model for electric renewable (HOMER) software  (Islam, 2018; ) Most of the studies focused on the use of hybrid RESs (Olatomiwa et al., 2018; Adaramola et al., 2014). For increased efficiency, while balancing the influence of fluctuation in the RES. This study focuses on the combination of the two main RES in Nigeria, solar and wind energy, in conjunction with battery and a diesel generator for energy storage and backup power supply respectively. The objective is to evaluate the techno-economic and environmental feasibility of integrating these energy sources (solar and wind) for utilization.

2.1. RELATED STUDIES

Several studies have been carried out in various parts of the world to assess the technical and feasibility analysis of various hybrid energy systems. A study on optimization and life cycle cost of a PV system was carried out by (Al-Karaghouli and Kazmerski, 2010), using HOMER to assess the techno-economic analysis of the proposed PV system for that location. An off-grid PV/wind/diesel/battery system was proposed by (Maleki and Askarzadeh, 2014). For rural electrification in Iran using discrete harmony search algorithm to find out the most cost-effective system configuration for the study location. The hybrid wind/diesel/battery configuration was found out to be the most cost-effective configuration for that community. A techno-economic feasibility analysis of an off-grid PV/battery system was also carried out by (Abanda et al., 2016), for a location in Cameroon to evaluate the cost and technical analysis of the system.

Another study was carried out by (Das et al., 2016), to analyze the economic and technical viability of a hybrid PV/tidal powered micro-hydro hybrid system for a location in Bangladesh using HOMER analysis tool. The cost analysis of the system was analyzed by comparing with other system costs of similar capacity. A feasibility analysis was carried out in south western Nigeria by (Adaramola et al., 2012), to examine the feasibility of a hybrid PV/wind/diesel/battery system in supplying electricity to the study location. The study revealed the PV/diesel/battery system as the most economically suitable configuration with COE ranging from $0.407/kWh to $0.606/kWh depending on the diesel price. The cost is low compared to the diesel only system because of the high cost of diesel. A techno-economic analysis of an off-grid system was also carried out by (Bashir et al., 2018), in north eastern Nigeria. Several models which includes diesel only system, PV/wind/diesel/battery system, PV/wind/battery system, PV/battery system, PV/diesel system, and PV/diesel/battery system, were analyzed in the study.

The optimum configuration in terms of COE was the PV/diesel/battery system with a COE of $0.304/kWh, the overall COE of the study ranges between 0.366/kWh and $1.64/kWh. A technical and comparative analysis of PV/diesel/battery system and PV/wind/diesel/battery system was also carried out by (Olatomiwa et al 2015)for a mobile base transmission station in Nigeria. The PV/diesel/battery system was found to be the most economically viable system with a COE of $0.409/kWh.(Babatunde et al., 2019).also evaluated a grid independent solar PV for a primary health care center application in developing countries. The designed system has an installed capacity of 6 kW based on the clinics load demand, with an additional 25% load growth. The COE obtained for the system ranges between $0.239/kWh and $0.295/kWh.

The related studies discussed provide a good background for the current study by presenting various techno-economic case studies carried out in and outside Nigeria. For the studies carried out in Nigeria, the obtained COE is high as a result of wrong choice of equipment or wrong choice of components for the economic analysis. Most of the studies focused on NPC especially in Nigerian case studies. Therefore, in this study, HOMER optimization tool was used to determine the optimal configuration of a HRES in north central part of Nigeria, Gwagwalada. It estimates the technical feasibility of the HRES and performs economic analysis based on least NPC and COE. Different configurations were simulated by HOMER and the optimal configuration for the study location is the hybrid PV/diesel/battery system with a COE of $0.110/kWh

2.2 SOLAR ENERGY

Solar energy, radiation from the Sun capable of producing heat, causing chemical reactions, or generating electricity. The total amount of solar energy incident on Earth is vastly in excess of the world's current and anticipated energy requirements. If suitably harnessed, this highly diffused source has the potential to satisfy all future energy needs. In the 21st century solar energy has become increasingly attractive as a renewable energy source because of its inexhaustible supply and its nonpolluting character, in stark contrast to the finite fossil fuels coal, petroleum, and natural gas.

The Sun is an extremely powerful energy source, and sunlight is by far the largest source of energy received by Earth, but its intensity at Earth’s surface is actually quite low. This is essentially because of the enormous radial spreading of radiation from the distant Sun. A relatively minor additional loss is due to Earth’s atmosphere and clouds, which absorb or scatter as much as 54 percent of the incoming sunlight. The sunlight that reaches the ground consists of nearly 50 percent visible light, 45 percent infrared radiation, and smaller amounts of ultraviolet and other forms of electromagnetic radiation.

Solar energy drives and affects countless natural processes1 on Earth. For example, photosynthesis by plants, algae, and cyanobacteria relies on energy from the Sun, and it is nearly impossible to overstate the importance of that process in the maintenance of life on Earth. If photosynthesis ceased, there would soon be little food or other organic matter on Earth. Most organisms would disappear, and in time Earth’s atmosphere would become nearly devoid of gaseous oxygen. Solar energy is also essential for the evaporation of water in the water cycle, land and water temperatures, and the formation of wind, all of which are major factors in the climate patterns that shape life on Earth.

2.3 IMPORTANCE OF SOLAR ENERGY AS A RENEWABLE ENERGY SOURCE

A renewable source of power, solar energy has an important role in reducing greenhouse gas emissions and mitigating climate change, which is critical to protecting humans, wildlife, and ecosystems. Solar energy can also improve air quality, reduce water use from energy production, and provide ecosystem services for host communities through carbon sequestration, pollination, and ground and storm water management. Because ground-mounted photo-voltaics (PV) and concentrating solar-thermal power (CSP) installations require the use of land, sites need to be selected, designed, and managed to minimize impacts to local wildlife, wildlife habitat, and soil and water resources. The U.S. Department of Energy (DOE) Solar Energy Technologies Office (SETO) supports research to better understand how solar energy installations, wildlife, and ecosystems interact and to identify strategies that maximize benefits to the local environment and host communities

Renewable energy is energy derived from natural sources that are replenished at a higher rate than they are consumed. Sunlight and wind, for example, are such sources that are constantly being replenished. Renewable energy sources are plentiful and all around us.

Fossil fuels - coal, oil and gas - on the other hand, are non-renewable resources that take hundreds of millions of years to form. Fossil fuels, when burned to produce energy, cause harmful greenhouse gas emissions, such as carbon dioxide.

Generating renewable energy creates far lower emissions than burning fossil fuels. Transitioning from fossil fuels, which currently account for the lion’s share of emissions, to renewable energy is key to addressing the climate crisis. Renewables are now cheaper in most countries, and generate three times more jobs than fossil fuel.

Solar energy has long been used directly as a source of thermal energy. Beginning in the 20th century, technological advances have increased the number of uses and applications of the Sun’s thermal energy and opened the doors for the generation of solar power.

Solar energy is a growing industry that can exist in many areas depending on how the sun’s rays hit the Earth (Dincer 2011). Studies have shown that solar energy can supply about 1,000 times more energy than the world’s demand; however, only 0.02% of its full potential is currently being used (Alam et al. 2013). The world still has not taken advantage of solar energy’s full potential. This is especially important as developing countries will need to double their energy capacity by 2020 to keep up with their growing population (Alam et al., 2013). Also, developing countries positions on the globe offer many of them to be the best locations to collect solar energy (Alam et al., 2013). Solar energy is an abundant resource that needs to be understood and used globally.

2.4 TYPES OF SOLAR POWER

Solar power is generated when energy from the sun (sunlight) is converted into electricity or used to heat air, water or other fluids. There are two main types of solar energy technologies:

- Solar thermal

- Solar Photovoltaic

2.4.1 SOLAR THERMAL

This is the conversion of solar radiation into thermal energy heat. Thermal energy carried by air, water

Solar thermal-electric power systems collect and concentrate sunlight to produce the high temperatures needed to generate electricity. All solar thermal power systems have solar energy collectors with two main components: reflectors (mirrors) that capture and focus sunlight onto a receiver. In most types of systems, a heat-transfer fluid is heated and circulated in the receiver and used to produce steam. The steam is converted into mechanical energy in a turbine, which powers a generator to produce electricity. Solar thermal power systems have tracking systems that keep sunlight focused onto the receiver throughout the day as the sun changes position in the sky. Solar thermal power plants usually have a large field, or array, of collectors that supply heat to a turbine and generator. Several solar thermal power facilities in the United States have two or more solar power plants with separate arrays and generators.

Solar thermal power systems may also have a thermal energy storage system that collects heat in an energy storage system during the day, and the heat from the storage system is used to produce electricity in the evening or during cloudy weather. Solar thermal power plants may also be hybrid systems that use other fuels (usually natural gas) to supplement energy from the sun during periods of low solar radiation.

There are three main types of concentrating solar thermal power systems:

2.4.1.1 LINEAR CONCENTRATING SYSTEMS

Linear concentrating systems collect the sun's energy using long, rectangular, curved (U-shaped) mirrors. The mirrors focus sunlight onto receivers (tubes) that run the length of the mirrors. The concentrated sunlight heats a fluid flowing through the tubes. The fluid is sent to a heat exchanger to boil water in a conventional steam-turbine generator to produce electricity. There are two major types of linear concentrator systems: parabolic trough systems, where receiver tubes are positioned along the focal line of each parabolic mirror, and linear Fresnel reflector systems, where one receiver tube is positioned above several mirrors to allow the mirrors greater mobility in tracking the sun.

A linear concentrating collector power plant has a large number, or field, of collectors in parallel rows that are typically aligned in a north-south orientation to maximize solar energy collection. This configuration enables the mirrors to track the sun from east to west during the day and concentrate sunlight continuously onto the receiver tubes.

2.4.1.2 SOLAR POWER TOWERS

A solar power tower system uses a large field of flat, sun-tracking mirrors called heliostats to reflect and concentrate sunlight onto a receiver on the top of a tower. Sunlight can be concentrated as much as 1,500 times. Some power towers use water as the heat-transfer fluid. Advanced designs are experimenting with molten nitrate salt because of its superior heat transfer and energy storage capabilities. The thermal energy-storage capability allows the system to produce electricity during cloudy weather or at night.

2.4.1.3 SOLAR DISH/ENGINES

Solar dish-engine systems use a mirrored dish similar to a very large satellite dish. To reduce costs, the mirrored dish is usually made up of many smaller flat mirrors formed into a dish shape. The dish-shaped surface directs and concentrates sunlight onto a thermal receiver, which absorbs and collects the heat and transfers it to an engine generator. The most common type of heat engine used in dish-engine systems is the Stirling engine. This system uses the fluid heated by the receiver to move pistons and create mechanical power. The mechanical power runs a generator or alternator to produce electricity.

Solar dish-engine systems always point straight at the sun and concentrate the solar energy at the focal point of the dish. A solar dish's concentration ratio is much higher than linear concentrating systems; it has a working fluid temperature higher than 1,380°F. The power-generating equipment used with a solar dish can be mounted at the focal point of the dish. The energy can also be collected from a number of installations and converted into electricity at a central point.

2.4.2 SOLAR PHOTOVOLTAIC

A photovoltaic (PV) cell, commonly called a solar cell, is a non-mechanical device that converts sunlight directly into electricity. Some PV cells can convert artificial light into electricity.

Sunlight is composed of photons, or particles of solar energy. These photons contain varying amounts of energy that correspond to the different wavelengths of the solar spectrum.

A PV cell is made of semiconductor material. When photons strike a PV cell, they will reflect off the cell, pass through the cell, or be absorbed by the semiconductor material. Only the photons that are absorbed provide energy to generate electricity. When the semiconductor material absorbs enough sunlight (solar energy), electrons are dislodged from the material's atoms. Special treatment of the PV cell's surface during manufacturing makes the front surface of the cell more receptive to the dislodged, or free, electrons so that the electrons naturally migrate to the surface of

2.4.2.1 ELECTRICITY FLOW IN A SOLAR CELL

The movement of electrons, which all carry a negative charge, toward the front surface of the PV cell creates an imbalance of electrical charge between the cell's front and back surfaces. This imbalance, in turn, creates a voltage potential similar to the negative and positive terminals of a battery. Electrical conductors on the PV cell absorb the electrons. When the conductors are connected in an electrical circuit to an external load, such as a battery, electricity flows through the circuit.

Figure 2.1: Working principle of a photovoltaic cell.

2.4.2.2 PV CELLS, PANELS, AND ARRAYS

Photovoltaic cells convert sunlight into electricity

A photovoltaic (PV) cell, commonly called a solar cell, is a nonmechanical device that converts sunlight directly into electricity. Some PV cells can convert artificial light into electricity. Sunlight is composed of photons, or particles of solar energy. These photons contain varying amounts of energy that correspond to the different wavelengths of the solar spectrum.

A PV cell is made of semiconductor material. When photons strike a PV cell, they will reflect off the cell, pass through the cell, or be absorbed by the semiconductor material. Only the photons that are absorbed provide energy to generate electricity. When the semiconductor material absorbs enough sunlight (solar energy), electrons are dislodged from the material's atoms. Special treatment of the PV cell's surface during manufacturing makes the front surface of the cell more receptive to the dislodged, or free, electrons so that the electrons naturally migrate to the surface of the cell.

The flow of electricity in a solar cell

The movement of electrons, which all carry a negative charge, toward the front surface of the PV cell creates an imbalance of electrical charge between the cell's front and back surfaces. This imbalance, in turn, creates a voltage potential similar to the negative and positive terminals of a battery. Electrical conductors on the PV cell absorb the electrons. When the conductors are connected in an electrical circuit to an external load, such as a battery, electricity flows through the circuit. A diagram of how a photovoltaic cell works.

PV cells, panels, and arrays

The PV cell is the basic building block of a PV system. Individual cells can vary from 0.5 inches to about 4.0 inches across. However, one PV cell can only produce 1 or 2 Watts, which is only enough electricity for small uses, such as powering calculators or wristwatches.

PV cells are electrically connected in a packaged, weather-tight PV panel (sometimes called a module). PV panels vary in size and in the amount of electricity they can produce. Electricity-generating capacity for PV panels increases with the number of cells in the panel or in the surface area of the panel. PV panels can be connected in groups to form a PV array. A PV array can be composed of as few as two PV panels to hundreds of PV panels. The number of PV panels connected in a PV array determines the amount of electricity the array can generate.

PV cells generate direct current (DC) electricity. DC electricity can be used to charge batteries that power devices that use DC electricity. Nearly all electricity is supplied as alternating current (AC) in electricity transmission and distribution systems. Devices called inverters are used on PV panels or in PV arrays to convert the DC electricity to AC electricity.

PV cells and panels produce the most electricity when they are directly facing the sun. PV panels and arrays can use tracking systems to keep the panels facing the sun, but these systems are expensive. Most PV systems have panels in a fixed position that are usually facing directly south in the northern hemisphere—or directly north in the southern hemisphere—at an angle that optimizes the physical and economic performance of the system.

2.4.2.3 PV SYSTEM EFFICIENCY

The efficiency that PV cells convert sunlight to electricity varies by the type of semiconductor material and PV cell technology. The efficiency of commercially available PV panels averaged less than 10% in the mid-1980s, increased to around 15% by 2015, and is now approaching 25% for state-of-the art modules. Experimental PV cells and PV cells for niche markets, such as space satellites, have achieved nearly 50% efficiency.

2.4.2.4 PV SYSTEM APPLICATIONS

When the sun is shining, PV systems can generate electricity to directly power devices such as water pumps or supply electric power grids. PV systems can also charge a battery to provide electricity when the sun is not shining for individual devices, single homes, or electric power grids.

ADVANTAGES OF PV SYSTEMS

- PV systems can supply electricity in locations where electricity distribution systems (power lines) do not exist, and they can also supply electricity to electric power grids.

- PV arrays can be installed quickly.

- The environmental effects of PV systems located on buildings are minimal.

2.4.2.5 HISTORY OF PV SYSTEMS

The first practical PV cell was developed in 1954 by Bell Telephone researchers. Beginning in the late 1950s, PV cells were used to power U.S. space satellites. By the late 1970s, PV panels were providing electricity in remote, or off-grid, locations that did not have electric power lines. Since 2004, most PV systems in the United States are grid-connected—they are connected to an electric power grid. These PV systems are installed on or near homes and buildings and at utility-scale power plants that have at least 1 megawatt of electric-generation capacity. Technological advances, lower costs for PV systems, and various financial incentives and government policies, especially tax credits and net metering, have helped to greatly expand PV use since the mid-1990s. Millions of grid-connected PV systems are now installed in the United States.

Electricity generation at utility-scale PV power plants increased from 6 million kilowatt hours (kWh) (or 6,000 mega-watt hours (MWh) in 2004 to about 162 billion kWh (or 161,651,000 MWh) in 2023. About 74 billion kWh (or 73,619,000 MWh) were generated by small-scale, grid-connected PV systems in 2023, up from 11 billion kWh (or 11,233,000 MWh) in 2014. Small-scale PV systems have less than 1,000 kilowatts of electricity-generation capacity. Most small-scale PV systems are located on buildings and are sometimes called rooftop PV systems.

2.5 BASIC CONCEPT

2.5.1 THE SUN

The sun as an average star is a typical mai, The Sun is classified as a G2 V star, with G2 standing for the second hottest stars of the yellow G class—of surface temperature about 5,800 kelvins (K) and the V representing a main sequence, or dwarf, star, the typical star for this temperature class. It has a radius of 6.960*108m. The mean distance between the sun and the earth is 1.496*10¹¹m is known as the astronomical unit (AU). Solar radiation is the electromagnetic radiation emitted by the sun. Almost all known physical and biological cycles in the earth system are driven by the solar radiation reaching the earth. Solar radiation is also the cause of climate change that is truly exterior to the Earth's system (Qiang, 2013).

2.5.2 SOLAR RADIATION

Solar radiation is the radiant energy emitted by the sun particularly electromagnetic energy. We classify it in two categories:

- Direct radiation: radiation from the sun that reaches the earth without scattering.

- Diffuse radiation: radiation is scattered by the atmosphere and clouds l. Total (global) radiation is the sum of the direct and diffuse radiation.

2.5.3 THE SOLAR SPECTRUM

The energy in solar irradiation comes in the form of electromagnetic wave of wide spectrum. The longer the wavelength the less energy ( for instance  infrared) than shorter ones such as visible light or UV. The spectrum can be depicted in a graph, the spectral distribution, shows the relative weight of individuals wavelength plotted over all wavelength, measured in w/m (wavelength). The diagram displays the spectrum of sun ray just outside the entry into the Earth's atmosphere. The peak of the spectrum is within the visible, but there are still significant method amount of shorter and longer wavelength present.

Figure 2.1 Solar Radiation Spectrums, King et al 2009

2.5.4 AIR MASS

Air mass is ratio of the path length, which beam radiation passes through the Sun were at the zenith, i.e. directly overhead. It is given by;

AM = LL0 = 1cosӨ                                                               (2.1)

Figure 2.2 Air Mass

2.5.5 SOLAR CONSTANT

The solar constant, Gsc, is the energy from the sun, per unit time, received on a unit area of surface perpendicular to the direction of propagation of the radiation at the earth's mean distance from the sun, if the earth's the atmosphere is fully transparent. It may be viewed on any unit surface normal to sun's rays on a sphere of radius equal to the sun-earth mean distance, thus alleviating the difficulty in imagining a fully transparent atmosphere around the earth. The recently reported value of the solar constant is 1367 W/m². It is given by

Gsc= σT44πR4πD2= 1367W/m2                                                                                     (2.2)

2.5.6 Extraterrestrial Radiation

Extraterrestrial radiation Go [W/m2] is the radiation incident on the surface tangent to the outer surface of the atmosphere. It is function of zenith angle, Өz, thus, it is function of: latitude, time during the day and number of the day ER is given by:

Go = Gsc.E0cosӨz = Gsc.E0(cosφ.cosσ.cosω+ sinφ. sin σ).                       (2.3)

2.5.7 Solar Angles

- The latitude, of a point on the earth's surface is the angle between the equatorial plane and a line that passes through that point and is normal to the surface. The North Pole is 90° N; the South Pole is 90° S. The 0° parallel of latitude is designated the equator, the fundamental plane of all geographic coordinate systems.

- The Longitude of a point on the earth's surface is the angle east or west from a reference meridian to another meridian that passes through that point.

- Declination δ is the angular position of the sun at solar noon with respect to the place of the equator. Declination varies from -23.450 to 23.450. δ, in degrees, for the day, n, of the year (counting Jan. 1 as 1), can be calculated from

δ=23.45sin 360284+n365                                             (2.4)

- Hour angle, ω , is the angular displacement of the sun east or west of the local meridian due to rotation of earth on its axis at 15 per hour, ω=0, at solar noon and is reckoned negative in the forenoon and positive in the afternoon. For example the hour angle for 11 A.M solar time is -15° and for say, 2.30 P.M is +37.50.

- Surface azimuthal angle, γ, is defined as the deviation of the projection on a horizontal plane of the normal to the surface from the local meridian, with zero due south, east negative and west positive, -180° ≤ γ ≤180°.

- Angle of Incidence, Ө, is defined as the angle between the sun's ray and the outer normal to a surface. If the surface is horizontal, the angle of incidence is referred to as Zenith angle, 02. The angle of incidence is related to the latitude, 4, declination, 8, the hour angle, w, slope of the surface, ẞ, and the azimuthal angle of the surface, γ  by:

cosӨ= sinδ.sinφ.cosβ - sinδ.cosφ.sinβ.cosγ + cosδ.cosβ.cosω.cosφ+

cosδ.sinφ.sinβ.cosγ.cosω + cosδ.sinβ.sinγ.sinω                                (2.5)

- Sunset hour angle, ωs is defined as the hour angle for which the sun's rays are parallel to the horizon. Sunset hour angle indicates the day length.

2.5.8 Solar Time

Solar Time is the time based on the apparent angular motion of the sun across the sky, with solar noon being the time the sun crosses the meridian of the observer. Solar time is used in all sun angle relationships. The solar time in general deviates from the local clock time.

Solar time = Standard time ± 4 (λst- λloc) + Ε.                                (2.6)

In equation 2.6 the + sign is to be used for longitudes "WEST" and -sign for longitudes "EAST". E is equation of time, which is an additional correction due to perturbations in the earth's rate of rotation, which affect the time the sun crosses the observer's meridian. E in minutes can be calculated from

E = 9.87 sin2B - 7.53 cosB- 1.5 sinB                                            (2.7)

In equation 2.7 B is given by

B = 360n−81364                                                                        (2.8)

Where, n is the day of the year, 1≤ n ≤ 365.

CHAPTER THREE

MATERIALS AND METHODOLOGY

3.0 INTRODUCTION

In this chapter the materials and methods for data acquisitions were discussed and the statistical methods used in analyzing the data were outlined.

3.1 STUDY AREA

Sokoto is located at latitude 130N and longitude 50E and is elevated at height of 351.0m above the sea level. Sokoto is situated in the arid and semi-arid regions of northern Nigeria, lying within the sahelian zone. This region experiences high levels of solar radiation throughout the year, making it an ideal location for solar energy studies.Sokoto recieves an average of  daily solar radiation of about 6-7 kWh/m2, among the highest in Nigeria.

The state enjoys approximately 10-12 hours of sunshine per day for most of the year, providing ample energy potential. It is also known for minimal rainfall (400-800 mm annually) and low humidity ensure clear skies, which enhances solar energy capture.

Sokoto is home to Usmanu Danfodiyo University, which has a history of engaging in renewable energy research. Collaboration with local academic institutions can support field studies and experimental projects.

3.2 DATA

Solar radiation data for a single ground station in Sokoto state, Nigeria was used for this study, the solar radiation data for the period of five years (1st January 2019 to 31st December 2023) was obtained from National Aeronautics and Space Administration (NASA), through Engineer Mawoli of the department of solar thermal Sokoto energy research center (SERC) Usmanu Danfodiyo University Sokoto.

3.3 METHOD

The solar radiation data for Sokoto state was recorded at a sixty minutes interval for the period of five years, the choice of sixty minutes interval was in order to capture detailed information on the variation of solar radiation at the selected area at the end of the day. The data was summed and divided by the hours of measurement to get the average daily (diurnal) solar radiation data, adding the average daily data for a month and dividing by the number of days in the month, the average monthly was obtained, summing up the monthly average of a year and dividing by number of months in a year, we have the average yearly solar radiation data. The choice of five years range (1st January 2019- 31st December 2023) was to observe the yearly variation of solar radiation and to get a better understanding of the future from the study.

To find out the solar photovoltaic generation potential, the solar radiation over 5 years (January 1st 2019 – December 31st 2023) is measured in Sokoto state, Nigeria using the weather station data (only solar radiation). Then the diurnal variations, average monthly output, yearly output have been found out and related graphs are plotted for showing the variation  in different seasons and time. For calculating the output the efficiency of the PV module is taken as 14.36%.

CHAPTER FOUR

RESULTS AND DISCUSSIONS

4.1 Results

Tables 4.1, 4.2, 4.3, 4.4 and 4.5 shows the annual monthly average solar radiation in Sokoto state for the years 2019, 2020, 2021, 2022 and 2023 respectively. However table 6 shows the monthly average solar radiation solar radiation in Sokoto state for the years 2019-2023. In each case a graph of solar radiation was plotted against their respective months of the data acquisition.

Table 4.1: Annual monthly average solar radiation in Sokoto state for the year 2019.

| S/N | Months | Solar radiation (W/m2) |
| --- | --- | --- |
| 1 | January | 241.73 |
| 2 | February | 257.61 |
| 3 | March | 261.59 |
| 4 | April | 277.97 |
| 5 | May | 258.73 |
| 6 | June | 262.07 |
| 7 | July | 236.14 |
| 8 | August | 217.20 |
| 9 | September | 250.29 |
| 10 | October | 237.63 |
| 11 | November | 256.21 |
| 12 | December | 241.45 |

Figure 4.1 Graph of annual monthly variations for the year 2019

Table 4.2 Annual monthly average solar radiations for the year 2020

| S/N | Months | Solar radiation (W/m2) |
| --- | --- | --- |
| 1 | January | 225.20 |
| 2 | February | 257.06 |
| 3 | March | 278.01 |
| 4 | April | 271.12 |
| 5 | May | 259.42 |
| 6 | June | 253.60 |
| 7 | July | 229.98 |
| 8 | August | 214.30 |
| 9 | September | 234.00 |
| 10 | October | 261.72 |
| 11 | November | 253.65 |
| 12 | December | 242.84 |

Figure 4.2 Graph of annual monthly variations for the year 2020.

Table 4.3: Annual monthly average solar radiation for the year 2021

| S/N | Months | Solar radiation (W/m2) |
| --- | --- | --- |
| 1 | January | 254.41 |
| 2 | February | 259.17 |
| 3 | March | 254.81 |
| 4 | April | 298.41 |
| 5 | May | 264.29 |
| 6 | June | 258.06 |
| 7 | July | 234.44 |
| 8 | August | 226.77 |
| 9 | September | 246.69 |
| 10 | October | 266.68 |
| 11 | November | 258.70 |
| 12 | December | 232.99 |

Figure 4.3: Graph of annual monthly variations for the year 2021

Table 4.4: Annual monthly average solar radiation for the year 2022

| S/N | Months | Solar radiation (W/m²) |
| --- | --- | --- |
| 1 | January | 238.61 |
| 2 | February | 262.24 |
| 3 | March | 244.26 |
| 4 | April | 277.99 |
| 5 | May | 264.29 |
| 6 | June | 249.57 |
| 7 | July | 237.37 |
| 8 | August | 211.81 |
| 9 | September | 239.72 |
| 10 | October | 261.88 |
| 11 | November | 254.70 |
| 12 | December | 228.31 |

Figure 4.4: Graph of annual monthly variations for the year 2022.

Table 4.5: Annual monthly average solar radiation for the year 2023

| S/N | Months | Solar radiation (W/m²) |
| --- | --- | --- |
| 1 | January | 245.21 |
| 2 | February | 256.17 |
| 3 | March | 270.49 |
| 4 | April | 266.71 |
| 5 | May | 268.43 |
| 6 | June | 259.72 |
| 7 | July | 253.19 |
| 8 | August | 225.16 |
| 9 | September | 257.63 |
| 10 | October | 255.63 |
| 11 | November | 234.63 |
| 12 | December | 239.72 |

Figure 4.5: Graph of annual monthly variations for the year 2023.

Table 4.6 Monthly Average solar radiation in Sokoto state for the years 2019-2023

| S/N | Months | Solar radiation W/m2 |
| --- | --- | --- |
| 1 | January | 241.07 |
| 2 | February | 258.45 |
| 3 | March | 261.83 |
| 4 | April | 278.44 |
| 5 | May | 263.03 |
| 6 | June | 256.60 |
| 7 | July | 238.22 |
| 8 | August | 219.05 |
| 9 | September | 245.67 |
| 10 | October | 256.69 |
| 11 | November | 251.47 |
| 12 | December | 237.06 |

Figure 4.6: Bar chart of monthly variations 2019-2023.

Figure 4.7: Solar radiation data and calculations of average PV output.

| Months | Solar radiation (W/m2) | PV module efficiency | Output (W/m2) | Total output (W/m2) | Average output (W/m2) |
| --- | --- | --- | --- | --- | --- |
| January | 241.07 | 14.30% | 34.47 |  |  |
| February | 258.45 | 14.21% | 36.72 |  |  |
| March | 261.83 | 14.30% | 37.44 |  |  |
| April | 278.44 | 14.30% | 39.82 |  |  |
| May | 263.03 | 14.32% | 37.66 |  |  |
| June | 256.60 | 14.30% | 36.70 |  |  |
| July | 238.22 | 14.36% | 34.22 | 429.81 | 35.82 |
| August | 219.05 | 14.29% | 31.31 |  |  |
| September | 245.67 | 14.30% | 35.13 |  |  |
| October | 256.69 | 14.30% | 36.70 |  |  |
| November | 251.47 | 14.30% | 35.96 |  |  |
| December | 237.06 | 14.30% | 33.90 |  |  |

Table 4.8: Daily, Monthly and Yearly energy output.

| Months | Daily energy output (W/m²) | Monthly energy output (W/m²) | Average monthly energy output (W/m²) | Yearly energy output (W/m²) |
| --- | --- | --- | --- | --- |
| January | 34.47 | 1068.57 |  |  |
| February | 36.72 | 1028.16 |  |  |
| March | 37.44 | 1160.64 |  |  |
| April | 39.82 | 1194.60 |  |  |
| May | 37.66 | 1167.46 |  |  |
| June | 36.70 | 1101.00 |  |  |
| July | 34.22 | 1060.82 | 1089.43 | 13073.16 |
| August | 31.31 | 970.61 |  |  |
| September | 35.13 | 1053.90 |  |  |
| October | 36.70 | 1137.70 |  |  |
| November | 35.96 | 1078.80 |  |  |
| December | 33.90 | 1050.90 |  |  |

Figure 4.7 Graph of Monthly energy output.

4.2 Discussions

The monthly solar radiation data was obtained by adding the daily (diurnal) radiation data and dividing by the number of days in the month. Table 1, 2, 3, 4 and 5 gives the monthly solar radiation data for the year 2019, 2020, 2021, 2022 and 2023 respectively.

It can be observed from figures 1-5 that the monthly variations in solar radiation approximately follows the same pattern every year, with the highest recorded solar radiation falling within the months of  February, March or April. The lowest falls within July or August. In comparing figure 1-5 it can be observed that the pattern followed by the radiation in Sokoto state is almost the same.

Table 6 gives the five years monthly average solar radiation data which will be used for calculations of average monthly photovoltaic output. One year observation cannot give a clear picture of the dynamics of the observed, hence the use of five years data for this study. As expected the month of august records the lowest while the month of April is the highest with a radiation of  278.44 W/m2. August with a recorded  219.05 W/m2.  is significantly high for energy generation compared to other locations of Nigeria.

A photovoltaic module of 14.36% efficiency was used for this study, which means that the module will convert 14.36% of the solar radiation that strikes it to useful electricity. The monthly daily average energy output are tabulated in table 7.

The daily average energy output multiplied by the number of days in a month gives us the monthly energy output, by summing up the monthly and dividing by the number of months in a year we have the average monthly energy output and the average monthly output multiplied by the number of months in a year gives us the estimated average yearly energy output. Table 8 shows the estimated average daily, the monthly, the average monthly and the yearly energy output that can be generated in Sokoto state using a photovoltaic module with 14.36% efficiency.

CHAPTER FIVE

CONCLUSION AND RECOMMENDATIONS

5.1 CONCLUSION

Sokoto State is endowed with abundant solar energy resource that can be effectively harnessed to compliment the conventional energy sources as evidently shown in this work, the state appeared to be an excellent location for solar energy development due to its geographic location and climatic condition , which provide an abundance of sunlight throughout the year. With high solar irradiance levels, Sokoto is ideally suited for solar power initiatives, offering a sustainable and renewable solution to meet local energy demands and reduce dependency on fossil fuels. Investing in solar energy infrastructure in Sokoto could foster economic development, improve energy access and contribute to environmental conservation by lowering carbon emissions. As technology advances and cost decreases, harnessing solar energy in Sokoto could play a vital role in Nigeria’s transition to a cleaner and more sustainable energy future.

5.2 RECOMMENDATIONS

i. For future studies I will recommend that most recent data be used, so as to be compared with the results of this study to see the consistency of solar radiation trends.

ii. The efficiency of solar photovoltaic module are increasing with advancements in the research of solar cells, for future studies the most readily available PV module should be used.

REFERENCE

A. Al-Karaghouli, L. Kazmerski., (2018). Optimization and life-cycle cost of

health clinic PV system for a rural area in southern Iraq using HOMER

software

A. Chel, G. Kaushik., 57 (2) (2018). Renewable energy technologies for

sustainable development of energy efficient building Alexandr. Eng. J.,

pp. 655-669

A. Giallanza, M. Porretto, G.L. Puma, G. Marannano A., 199 (2018). Sizing

approach for stand-alone hybrid photovoltaic-wind-battery systems: a

Sicilian case study J. Clean. Prod. pp. 817-830

A. Maleki., 435 (2018) Design and optimization of autonomous solar-wind-

reverse osmosis desalination systems coupling battery and hydrogen

energy  storage by an improved bee algorithm Desalination, pp. 221-234

A. Maleki, A. Askarzadeh., 7 (2014). Optimal sizing of a PV/wind/diesel

system with battery storage for electrification to an off-grid remote

region: A case study of Rafsanjan, Iran Sustain. Energy Technol. Assess.,

pp.  147-153

C. Li, W. Yu., 124 (2016). Techno-economic comparative analysis of off-grid

hybrid photovoltaic/diesel/battery and photovoltaic/battery power

systems for a household in Urumqi, China J. Clean. Prod. pp. 258-265

D. Akinyele., 34 (2017). Techno-economic design and performance analysis

of nanogrid systems for households in energy-poor villages Sustain.

Cities  Soc. pp. 335-357

D. Akinyele, R. Rayudu, N. Nair., 101 (2017),  Life cycle impact assessment of

photovoltaic power generation from crystalline silicon-based solar

modules in Nigeria Renew. Energy, pp. 537-549

F. Diab, H. Lan, L. Zhang, S. Ali., 112 (2016). An environmentally friendly

factory in Egypt based on hybrid photovoltaic/wind/diesel/battery

system J. Clean. Prod, pp. 3884-3894

G. Li, X. Zheng., 62 (2016) Thermal energy storage system integration forms

for a sustainable future Renew. Sustain. Energy Rev. pp. 736-757

H.S. Das, A. Yatim, C.W. Tan, K.Y. Lau., 53 (2016). Proposition of a PV/tidal

powered micro-hydro and diesel hybrid system: a southern Bangladesh

focus Renew. Sustain. Energy Rev. pp. 1137-1148

L. Olatomiwa, R. Blanchard, S. Mekhilef, D. Akinyele., 30 (2018),  Hybrid

renewable energy supply for rural healthcare facilities: an approach

to quality healthcare delivery Sustain. Energy Technol. Assess.,

pp. 121-138

L. Olatomiwa, S. Mekhilef, A. Huda, K. Sanusi., 3(4) (2015), Techno-economic

analysis of hybrid PV–diesel–battery and PV–wind–diesel–battery

power systems for mobile BTS: the way forward for rural

development Energy Sci. Eng. pp. 271-285

L. Olatomiwa, S. Mekhilef, A. Huda, O.S. Ohunakin., 83 (2015). Economic

evaluation of hybrid energy systems for rural electrification in six geo

-political zones of Nigeria Renew. Energy, pp. 435-446

L. Olatomiwa, S. Mekhilef, S. Shamshirband, D. Petkovic., 77 (2015). Potential

of support vector regression for solar radiation prediction in Nigeria

Nat.  Hazards, pp. 1055-1068

M. Adaramola, O. Oyewola, S. Paul., 30 (4) (2012). Technical and economic

assessment of hybrid energy systems in South-West Nigeria Energy

Explor. Exploit, pp. 533-551

M. Ahiduzzaman, A.S. Islam., 15 (9) (2011). Greenhouse gas emission and

renewable energy sources for sustainable development in Bangladesh

Renew. Sustain. Energy Rev, pp. 4659-4666

M. Bhattacharya, S.R. Paramati, I. Ozturk, S. Bhattacharya S. Mandal, B.K.

Das, N. Hoque., 200  (2018). Optimum sizing of a stand-alone hybrid

energy system for rural electrification in Bangladesh J. Clean. Prod.

pp. 12-27

M. Gharibi, A. Askarzadeh., (2019). Technical and economical bi-objective

design of a grid-connected photovoltaic/diesel generator/fuel cell

energy system Sustain. Cities Soc, pp. 101575

M.S. Adaramola, O.M. Oyewola, O.S. Ohunakin, O.O. Akinnawonu., 6 (2014).

Performance evaluation of wind turbines for energy generation in

Niger Delta, Nigeria Sustain. Energy Technol. Assess. pp. 75-85

M.S. Adaramola, S.S. Paul, O.M. Oyewola., 19 (2014). Assessment of

decentralized hybrid PV solar-diesel power system for applications in

Northern part of Nigeria Energy Sustain. Devel. pp. 72-82

N. Bashir, B. Modu, P. Harcourt., 8 (2018). Techo-economic analysis of off-grid

renewable energy systems for rural electrification in North-eastern Nigeria Int. J. Renew. Energy Res, pp. 1217-1228

NASA, Surface Meteorology and Solar Radiation, 2019.

O. Babatunde, D. Akinyele, T. Akinbulire, P. Oluseyi., 24 (2018), Evaluation of

a grid-independent solar photovoltaic system for primary health

centres  (PHCs) in developing countries Renew. Energy Focus, pp. 16-27

O.M. Babatunde, O.S. Adedoja, D.E. Babatunde, I.H. Denwigwe., (2019). Off‐grid

hybrid renewable energy system for rural healthcare centers: a case

study in Nigeria Energy Sci. Eng.

O.S. Ohunakin, M.S. Adaramola, O.M. Oyewola, R.O. Fagbenle., 32 (2014).  Solar

energy applications and development in Nigeria: drivers and barriers

Renew. Sustain. Energy Rev. pp. 294-301

P. Suhane, S. Rangnekar, A. Mittal, A. Khare., 10 (7) (2016). Sizing and

performance analysis of standalone wind-photovoltaic based hybrid

energy system using ant colony optimization IET Renew. Power Gener.,,

pp. 964-972

R. Sitharthan, M. Geethanjali, T.K.S. Pandy.,55 (3) (2016). Adaptive protection

scheme for smart microgrid with electronically coupled distributed

generations Alexandr. Eng. J., pp. 2539-2550

S. Sinha, S. Chandel., 32 (2014). Review of software tools for hybrid

renewable energy systems Renew. Sustain. Energy Rev., pp. 192-205

Sol. Energy, 84 (4) (2010), pp. 710-714 The effect of renewable energy

consumption on economic growth: evidence from top 38 countries Appl.

Energy,, pp. 733-741.

Y. Sawle, S. Gupta, A.K. Bohre., 81 (2018).  Review of hybrid renewable

energy systems with comparative analysis of off-grid hybrid system

Renew. Sustain. Energy Rev, pp. 2217-2235

Y. Sawle, S. Gupta, A.K. Bohre., 119 (2018). Socio-techno-economic design of

hybrid renewable energy system using optimization techniques Renew.

Energy,  pp. 459-472